## Sheet1
Material | Chamber Use Description | Cost | Link | ALL PRICES BASED ON US$ IN 2022
Clear polished acrylic 5-sided box 30x20x20cm | Outer chamber | 54.27 | https://www.shoppopdisplays.com/10096/acrylic-5-sided-box-8h-x-8w-x-12l.html
Clear polished acrylic 5-sided box 16x16x16cm | Inner chamber | 25.19 | https://www.shoppopdisplays.com/10091/acrylic-5-sided-box-6-x-6-x-6.html
Clear acrylic sheet 15/64" Thick | Inner chamber base plate | 8.41 | https://www.mcmaster.com/8560K179/
White Delrin sheet 1" Thick, 6"x6" | Buoyancy railing; support feet | 35.23 | https://www.mcmaster.com/8573K126/
Aluminum sheet 0.08" Thick | Camera frame | 11.29 | https://www.mcmaster.com/89015K191/
ThorLabs DCC1645C, Obsolete: replaced by ThorLabs CS165CU | Camera imager | 448.05 | https://www.thorlabs.com/thorproduct.cfm?partnumber=CS165CU
ThorLabs MVL6WA | Camera lens | 166.38 | https://www.thorlabs.com/thorproduct.cfm?partnumber=MVL6WA
PVC film 0.12" Thick | Clear chamber cover | 20.38 | https://www.mcmaster.com/87875K63/
Quartz disk 1" Diam, 1/4" Thick | Camera anti-refraction lens | 21.43 | https://www.mcmaster.com/1357T31/
Xrite ColorChecker Passport, Discontinued; replaced by SCK200 SpyderCHCKR 24 | Camera color calibration | 49 | https://www.amazon.com/dp/B00LPS46TW/ref=sspa_dk_detail_3?psc=1&pd_rd_i=B00LPS46TW&pd_rd_w=3y17W&content-id=amzn1.sym.3481f441-61ac-4028-9c1a-7f9ce8ec50c5&pf_rd_p=3481f441-61ac-4028-9c1a-7f9ce8ec50c5&pf_rd_r=6RTWWYAMMN280E4JH208&pd_rd_wg=T9Fwv&pd_rd_r=5ffb759f-d695-47e3-a5fe-84eeff242125&s=photo&sp_csd=d2lkZ2V0TmFtZT1zcF9kZXRhaWxfdGhlbWF0aWM&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUE0UDc4WTdJRUlWUkYmZW5jcnlwdGVkSWQ9QTA2NTUwMzJXN001RzdZQlZLTksmZW5jcnlwdGVkQWRJZD1BMDA4Mjk5MDJVNFFLREIyWlYwTTcmd2lkZ2V0TmFtZT1zcF9kZXRhaWxfdGhlbWF0aWMmYWN0aW9uPWNsaWNrUmVkaXJlY3QmZG9Ob3RMb2dDbGljaz10cnVl
Silicone tube 1/2" ID x 5/8" OD | Temperature control water tube | 15.99 | https://www.amazon.com/Feelers-Silicone-Silicon-Brewing-Winemaking/dp/B093F5P8K7/ref=sr_1_2_sspa?crid=TTTG4RB86YI1&keywords=flexible%2Bsilicone%2Btube%2B5%2F8%22OD%2B1%2F2%22%2BID&qid=1660254223&sprefix=flexible%2Bsilicone%2Btube%2B5%2F8%2Bod%2B1%2F2%2Bid%2Caps%2C65&sr=8-2-spons&th=1
Tube push fitting pneumatic male straight | Connecting water tubes to heating tube | 10.36 | https://www.amazon.com/mxuteuk-Connect-Fittings-Pneumatic-Straight/dp/B07ZJ578ZW/ref=sr_1_1_sspa?crid=1FS45HBABP3I2&keywords=male+straight+pneumatic+tube+push+fitting&qid=1660254322&sprefix=male+straight+pneumatic+tube+push+fitti%2Caps%2C161&sr=8-1-spons&psc=1
25 Watt resistance heater | Water heater | 27.17 | https://www.mcmaster.com/3641K21/